| Progress for the week 9-29 to 10-5 1-Lambda phage experiment complete and results are in. Some of the reading do not make sense 2-proposal for the flu chip fixture 3-SEM images of the lambda phage SOE 1 chips 4-Pressure inspection of the intact channels. | Plans for the week 10-6 to 10-12 1-test the aliquots of SOE1 using pico green assay. Nanodrop discrepancy due to residual ethanol and other elements in nuclease free water aliquot. 2-Make a 400 to 500 um high 2cm SU8 wafer. 3-Give the chip design to the machine ship and get a work order 4-On a request from Sonali , train Brendan to do monolith and SPE in channels |
| --- | --- |