Micro BCA Protein Determination (modified)

Pam Kreeger 6/20/2006

Use Pierce BCA standard (2mg/mL).  Do duplicates of all samples (including standards). This protocol is designed for lysates with [protein] > 2mg/mL.

1)  Make diluted lysis buffer (DLB)

1:10 dilution, need 200uL per sample + 200uL for standards

2)  Make diluted BSA standard

13uL stock: 507uL water (50ug/mL)

3)  Set up standards in 96 well plate (1st and 2nd column). Fill other columns with 90uL 	water per well.

| Well | g/mL | Water (L) | Diluted BSA (L) | DLB (L) |
| --- | --- | --- | --- | --- |
| A1 | 2 | 86 | 4 | 10 |
| A2 | BLANK | 90 | 0 | 10 |
| B | 4 | 82 | 8 | 10 |
| C | 8 | 74 | 16 | 10 |
| D | 12 | 66 | 24 | 10 |
| E | 16 | 58 | 32 | 10 |
| F | 20 | 50 | 40 | 10 |
| G | 25 | 40 | 50 | 10 |
| H | 30 | 30 | 60 | 10 |

4)  Prepare dilution of unknowns in separate 96 well plate or in tubes

|  | Diluent (L) | Sample (L) | Final dilution |
| --- | --- | --- | --- |
| #1 | 45 water | 5 of lysate | 100 |
| #2 | 40 DLB | 10 of #1 | 500 |
| #3 | 45 DLB | 5 of #1 | 1000 |

Note:  dilution #1 can be made at the time of lysis and frozen or made from a 	small aliquot of lysate at time of BCA assay

5)  Transfer 10uL of each sample dilution to corresponding well on measurement plate.

6)  Add BCA Cocktail.  Make 6mL for each ½ plate to measure.

(3mL A, 2.88mL B, 120L C).

Add 100uL to each well.

7)  Cover and incubate for 1 hour at 37oC.

8)  Read at 562nm.