Swelling Assay for 3D Porous PEG Gels

Materials

3D Porous PEG Gels (See Formation of 3D Porous PEG Gels protocol)

PBS

ddH2O

Procedure

- Gels should be sitting in glass vials filled with THF (for at least 3 days).

- Decant off the THF and immediately replace with PBS.

- Gently turn over vials so that the PBS will displace any remaining THF.  Gels should sink to the bottom of the vial.

- Let gels sit for at least 24 hours changing the PBS periodically.

- Tare and mass conical tubes for swollen weights.  Label each tube with a number and its corresponding mass.

- Place four 3D porous PEG gels in each tube.

- Mass and record the weight of each tube.

- Obtain a small Petri dish for each conical tube and label it with the number of its corresponding conical tube.

- Fill each Petri dish with ddH2O.

- Transfer the gels from each conical tube to its corresponding Petri dish.

- Let the gels sit for at least 24 hours changing water periodically.

- Tare and mass conical tubes for drying (one for each Petri dish).  Label each tube with its mass and the number of its corresponding Petri dish.

- Aspirate off water and carefully transfer the corresponding four gels into each conical tube.

- Leaving the tubes open, lyophilize gels for several days.

- After drying, record mass of conical tubes (with gels inside).