Photobioreactor mock-up

| part | name | supplier | catalog # | alternate# |
| --- | --- | --- | --- | --- |
| 6 | 2L Nalgene square bottle, PC | VWR | 16121-230 | NNI 2015-2000 |
| 2 | silicone tubing, 1/4"ID, 3/8" OD | CP | 06411-67 |  |
| 7 | pyrex gas dispersion tube | VWR | 32583-000 |  |
| 1 | bacterial air vent, 1.0 micron | VWR | 28145-553 | Pall PN 4210 |
| 5 | tri-port vented closure, 53mm dia. | VWR | 16225-228 | NNI 2162-0531 |

Note: picture is of older version using fittings in the cap to connect air hoses to cap and gas dispersion tube (bubbler). The use of the tri-ported vented closure eliminates the need for assembling fittings into the lid of the polycarbonate (PC) bottle. Suppliers are VWR Scientific and Cole-Parmer (CP), Pall, and Nalgene-Nunc International (NNI).